## Sheet1
Job Name
[12 empty] | Quote Number | [7 empty] | Gasket |  | Hinge | Mounting Holes
[12 empty] | Date | [6 empty] | X | Std (Black FDA-compliant EPDM) | □ | SS Continuous | □ | 5 3/4" C/L
[21 empty] | □ | SS 10" | □ | 11 1/2" C/L
[11 empty] | Performance Requirements | [9 empty] | □ | XYZ adjustable | □ | None
[15 empty] | Inches of Water Column = |  |  |  | Insulation Type |  | □ | None
| Wintech Access Door Quote Scope Sheet | [13 empty] | Interior doors | □ |  |  | □ | Standard Foam |  |  | Special Items
[15 empty] | Exterior doors | □ |  |  | □ | 3lb Fiberglass* | Handle installation |  | 1 | Linkage Kit
[19 empty] | □ | 8lb Mineral Wool* | □ | N/A | 2 | Test Port
[19 empty] | *2" SD doors only |  | □ | Installed | 3 | Safety Latch
[6 empty] | Twin Door Mull |  | Hinge |  |  |  |  | Viewport | [7 empty] | □ | Ship loose | 4 | Pull Handle
|  | Rough Opening |  |  | Door Series | ·Applied | Neg | L-left | Viewport (see tables) |  |  |  | C/L dim | Interior | Exterior | Hardware | Special |  |  | Int / Ext Skin #
Line | Qty | Width | x | Height | (See below) | ·Removable | Pos | R-Right | Width | x | Height | *Glass # | from bottom | Skin # | Skin # | Type # | Item # / qty | Tag ID | 1 | 20 ga Galvanized | Skin / Frame Component Painted Finishes
1 | [18 empty] | 2 | 16 ga Galvanized | □ | Interior Primer__________________
2 | [18 empty] | 3 | 20 ga Galvanealed | □ | Interior Paint ___________________
3 | [18 empty] | 4 | 16 ga Galvanealed | □ | Exterior Primer _________________
4 | [18 empty] | 5 | 18 ga Gardobond | □ | Exterior Paint ___________________
5 | [18 empty] | 6 | 20 ga SS 304-2B | □ | Frame Paint____________________
6 | [18 empty] | 7 | 16 ga SS 304-2B | □ | Panel Frame Paint_______________
7 | [18 empty] | 8 | 20 ga SS 316-2-B | □ | Interior v/p paint_______________
8 | [18 empty] | 9 | 16 ga SS 316-2-B | □ | Exterior v/p paint________________
9 | [18 empty] | 10 | .063 smooth Alum
10 | [18 empty] | 11 | .050 emboss Alum |  | Handle Type #
11 | [20 empty] | 1 | Allegis K1 std prep only
12 | [18 empty] | Nominal |  | 2 | Allegis K1 std & red Handle Vert
13 | [18 empty] | View Ports Sizes |  | 3 | Allegis K1 std & red Handle Horz
14 | [18 empty] | 6" x 6" ** |  | 4 | Allegis K1 Keyed & red Handle Vert
15 | [18 empty] | 8" x 8" |  | 5 | Allegis K1 Keyed & red Handle Horz
16 | [18 empty] | 8" x 12" |  | 6 | Allegis K1 Tool & red Handle Vert
17 | [18 empty] | 12" x 12" |  | 7 | Allegis K1 Pad lockable vertical
18 | [18 empty] | **Tempered not available |  | 8 | Allegis K1 Modular sgl 3 pt keyed
19 | [18 empty] | View Port Glass # |  | 9 | Allegis K1 Modular twin 3 pt keyed
20 | [18 empty] | 1 | Single Clear Temp | 10 | Allegis K1 Economy Latch
21 | [18 empty] | 2 | Single Clear Wire | 11 | Allegis K2 std prep only
22 | [18 empty] | 3 | Ins Wire / Clear | 12 | Allegis K2 std vert
NOTES: | [11 empty] | *Tempered not available | [6 empty] | 4 | Ins Clr T / Clr T | 13 | Allegis K2 std horz
1) Special view port height dimension - _____ inches from bottom of door to Center of viewing window. | [18 empty] | 5 | Ins Lexan / Lexan | 14 | Allegis K2 Keyed vert
2) If mixing installed "keyed" and "std" latches - note the Keyed latch locations on the doors. Bottom, Top, middle or supply drawing for location. | [18 empty] | 6 | Ins Wire / Wire | 15 | Allegis K2 Keyed horz
[21 empty] | 16 | Ventlok 260 prep only
Access Door Series | [6 empty] | Performance |  | Available configurations | [11 empty] | 17 | Ventlok 260
AD 1100 - 1" deep, non-thermal, single gasket | [6 empty] | Up to 5" WC |  | Latched plug door (no hinges), inswing, outswing | [11 empty] | 18 | Ventlok 260 Chrome
AD 1100 Twin- 1" deep, non-thermal, single gasket | [6 empty] | Control Panel only |  | inswing, outswing | [11 empty] | 19 | Ventlok 310 prep only
[7 empty] | no Performance | [13 empty] | 20 | Ventlok 310
AD 1500 - 1 1/2" deep, non-thermal, single gasket | [6 empty] | Up to 5" WC |  | Latched plug door (no hinges), inswing, outswing | [11 empty] | 21 | Ventlok 310 Chrome
AD 1500 Twin- 1 1/2" deep, non-thermal, single gasket | [6 empty] | Control Panel only |  | inswing, outswing | [11 empty] | 22 | Other ___________________________
no Performance
SD 2200 - 2" deep, non-thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
SD 2200T - 2" deep, thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
SD 3200 - 3" deep, non-thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
SD 3200T - 3" deep, thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
SD 4200 - 4" deep, non-thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
SD 4200T - 4" deep, thermal, double gasket | [6 empty] | Up to 20" WC |  | Latched plug door (no hinges), inswing, outswing, twin with removable or astrigal mullion
| F/_Estimating/HVAC/Quote Form 7.0 10-2-18 | [6 empty] | DO NOT ALTER SPREADSHEET